## Slide 1: ADVANCED IMAGING

## Slide 2: INTRODUCTION
Why we need 3D imaging???
shows 2D image of 3D structure
Superimposition of structures
Exact localization
Density of the lesion cannot be detected

## Slide 4
COMPUTED TOMOGRAPHY
CONE BEAM CT
MAGNETIC RESONANCE IMAGING
ULTRASONOGRAPHY
NUCLEAR MEDICINE
  SCINTIGRAPHY
  POSITRON EMISSION TOMOGRAPHY (PET)
  SINGLE POSITRON EMISSION COMPUTED TOMOGRAPHY (SPECT)

## Slide 5: COMPUTED TOMOGRAPHY
  Introduced first by Sir Godfrey Hounsfield in 1967
  Is the science that creates two and three dimensional cross-sectional images of body structures
  Tomos = slice/selection; Graphia = picture/ image
  + computed synthesis

## Slide 7: Principle
To be simple.....
Patient exposure
Detected by detector
Image reconstructed from multiple projections
Image is displayed

## Slide 8: Cross sectional slices

## Slide 9: Terminologies

## Slide 13
OPERATING CONSOLE

## Slide 17: SPIRAL CT

## Slide 19: Indications
Mainly used to evaluate the hard tissue pathologies
  Pathologies involving maxilla, mandible and facial bones.
  Cysts and tumours
  TMJ pathologies
  Craniofacial fractures
  Maxillary sinus pathologies
  Bone and fibro-osseous lesion
  Assessment of styloid process
  Assessment of implants

## Slide 20: Advantages
Axial, coronal and sagittal sections are obtained along with 3D view
Imaging of hard and soft tissues
Images can be manipulated
Images can be enhanced by use of IV contrast.
Images can be archieved and sent through electronic gadgets

## Slide 21: Disadvantages
Expensive
Very thin slices may result in high dose of radiation
Metallic objects such as fillings may produce artifacts and streaks.

## Slide 22: Interpretation
Hyperdense:
  Tissues with high density
  E.g. Bones
Isodense:
  Has same density as surrounding structures
  E.g. Muscles
Hypodense:
  Tissues with less density
  E.g. Water, air

## Slide 24: CT Number
The numbers in the image matrix is called CT NUMBER.
Each pixel has a number which represents the X ray attenuation in the corresponding voxel of the object.
Represent the density of tissue.
Different tissue have different CT number range in HU.

## Slide 25
TISSUE AND CT NUMBER
TISSUE | CT NUMBER
AIR | -1000
FAT | -100
PURE WATER | 0
CSF | 15
WHITE MATTER | 45
GRAY MATTER | 40
BLOOD | 20
BONE/ CALCIFICATION | +1000

## Slide 28: Cone Beam Computed Tomography (CBCT)

## Slide 29
Cone shaped beam
Both source and detector rotate by 360 degree
Patient position: sitting or standing
FOV can be adjusted ; either maxilla or mandible can be imaged
Detector: Area detector – whole volume can be imaged with a single rotation of X-ray machine and detector
Multiplanar reformattion is possible ---i.e. Image can be in oblique, curved section along with Axial, Coronal and Sagittal sections

## Slide 30: Advantages
Rapid scan time
FOV can be limited based on the area of interest
Image accuracy
Reduced patient dose
Less space occupancy of the machine
Low cost compared to CT

## Slide 31: Disadvantages
Poor soft tissue contrast
Artifacts due to metal objects like restorations and implants

## Slide 32
THANK YOU